## 安卓
| 设备 | 设备SN号/mac地址 | 血糖格式示例 | 尿酸格式示例 | 血脂/血压/体重等格式示例 |  | 特殊值 |  | 其他的测量值（历史值，当前值，特殊值等）
掌越血糖血脂仪 | 3GJ4IR00051 | 10CEA9DF9158 | {code='0E, data='{"result":{"GLU":{"unit":"mmol/L","value":"7.7"}},"sampleType":"血糖","testTime":"2021-07-25 16:58:36","type":"bloodGlucose"}, msg='历史数据补发} |  | {code='0E, data='{"result":{"CHOL":{"unit":"mmol/L","value":"<2.59"},"HDLC":{"unit":"mmol/L","value":"1.88"},"LDLC":{"unit":"mmol/L","value":"----"},"LDLCHDLC":{"value":"----"},"NONHDLC":{"unit":"mmol/L","value":"----"},"TCHDLC":{"value":"----"},"TG":{"unit":"mmol/L","value":">5.65"}},"testTime":"2020-07-27 13:53:45","type":"bloodLipids"}, msg='历史数据补发}
UA Ring尿酸测试仪 | 5NM6ER00219 | 5CC563E03A3D |  | {code='04, data='{"currentNumber":"11","hematocrit":"28","result":{"UA":{"indicatorOriginalResult":"1052","unit":"μmol/L","value":"1052"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-10-30 08:43:46","type":"uricAcid"}, msg='当前测试值} |  | {code='04, data='{"currentNumber":"2","hematocrit":"64","result":{"UA":{"indicatorOriginalResult":"157","unit":"μmol/L","value":"L"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-04 15:10:03","type":"uricAcid"}, msg='测试结果低于仪器测量范围} | {code='04, data='{"currentNumber":"4","hematocrit":"28","result":{"UA":{"indicatorOriginalResult":"1315","unit":"μmol/L","value":"H"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-03 13:07:42","type":"uricAcid"}, msg='测试结果高于仪器测量范围} | {code='05, data='{"currentNumber":"8","hematocrit":"28","result":{"UA":{"indicatorOriginalResult":"1053","unit":"μmol/L","value":"1053"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-10-24 11:10:21","type":"uricAcid"}, msg='历史数据值}
UG-PLUS血糖尿酸仪 | 6WM67G00038 | 5CC563E0458C | {code='04, data='{"currentNumber":"102","hematocrit":"50","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-30 13:05:58","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"currentNumber":"100","hematocrit":"36","result":{"UA":{"indicatorOriginalResult":"508","unit":"μmol/L","value":"508"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-10-31 11:38:12","type":"uricAcid"}, msg='当前测试值} |  | {code='04, data='{"currentNumber":"111","hematocrit":"64","result":{"UA":{"indicatorOriginalResult":"156","unit":"μmol/L","value":"L"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-04 15:03:12","type":"uricAcid"}, msg='测试结果低于仪器测量范围} | {code='04, data='{"currentNumber":"112","hematocrit":"28","result":{"UA":{"indicatorOriginalResult":"1314","unit":"μmol/L","value":"H"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-03 12:58:14","type":"uricAcid"}, msg='测试结果高于仪器测量范围} | {code='05, data='{"currentNumber":"75","hematocrit":"44","result":{"UA":{"indicatorOriginalResult":"420","unit":"μmol/L","value":"420"},"testNutritionalTime":"随机"},"sampleType":"尿酸","testTime":"2022-10-12 16:55:21","type":"uricAcid"}, msg='历史数据值
UA Pro尿酸测试仪 | 6TM67G00005 | 5C:C5:63:E0:36:B9 |  | {code='04, data='{"currentNumber":"25","hematocrit":"46","result":{"UA":{"indicatorOriginalResult":"624","unit":"μmol/L","value":"624"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-08-06 10:17:36","type":"uricAcid"}, msg='当前测试值}
UG-23血糖尿酸测试仪 | 6ZM6AG00015 | 5CC5636C7BD3 | {code='04, data='{"currentNumber":"39","result":{"GLU":{"indicatorOriginalResult":"11.7","unit":"mmol/L","value":"11.7"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-31 09:35:16","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"currentNumber":"23","result":{"UA":{"indicatorOriginalResult":"625","unit":"μmol/L","value":"625"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-10-30 07:57:18","type":"uricAcid"}, msg='当前测试值}
三诺优智血糖仪 | 4YL57G00051 | B84D432B9108 | {code='04, data='{"currentNumber":"112","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"65","unit":"mg/dL","value":"65"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-02 12:34:36","type":"bloodGlucose"}, msg='当前测试值} |  |  |  | {code='05, data='{"currentNumber":"98","hematocrit":"65","result":{"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-07-30 06:11:55","type":"bloodGlucose"}, msg='历史数据值} | {code='04, data='{"currentNumber":"104","hematocrit":"65","result":{"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-30 09:22:33","type":"bloodGlucose"}, msg='当前测试值}
BA-801 |  | C6050407C12D |  |  | BaseDetectionData{code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"131"},"BloodMeasureLow":{"unit":"mmHg","value":"76"},"P":{"value":"74"}},"testTime":"2228-07-11 14:06:00","type":"bloodPressure"}, msg='当前测试值}
UG-11 AIR（Code刷Air） | 3QL18R00277 | E0:62:34:C9:F1:B6 | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"10.6"}},"sampleType":"血糖","testTime":"2022-10-30 12:48:00","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"result":{"UA":{"unit":"μmol/L","value":"734.0"}},"testTime":"2022-11-02 13:19:39","type":"uricAcid"}, msg='当前测试值} |  | {code='05, data='{"currentNumber":"60","result":{"UA":{"unit":"μmol/L","value":"H"}},"sampleType":"尿酸","testTime":"2022-02-25 10:36:00","totalNumber":"0","type":"测试异常"}, msg='测试结果高于仪器测量范围} | {code='05, data='{"currentNumber":"36","result":{"GLU":{"unit":"mmol/L","value":"H"}},"sampleType":"血糖","testTime":"2020-07-05 07:42:51","totalNumber":"0","type":"bloodGlucose"}, msg='测试结果高于仪器测量范围} | {code='05, data='{"currentNumber":"40","hematocrit":"50","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-30 07:57:12","type":"bloodGlucose"}, msg='历史数据值} | {code='05, data='{"currentNumber":"57","result":{"UA":{"unit":"μmol/L","value":"1083.0"}},"sampleType":"尿酸","testTime":"2022-02-25 14:18:00","totalNumber":"0","type":"测试异常"}, msg='历史数据值} | {code='04, data='{"result":{"UA":{"unit":"μmol/L","value":"711.0"}},"testTime":"2022-10-30 12:46:50","type":"测试异常"}, msg='当前测试值}
UG-11 Air血糖尿酸测试仪 | 4CJ8AR00461 | 10CEA9DFB0ED | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"6.7"}},"sampleType":"血糖","testTime":"2022-10-31 14:49:04","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"result":{"UA":{"unit":"μmol/L","value":"389.0"}},"sampleType":"尿酸","testTime":"2022-10-31 14:52:24","type":"测试异常"}, msg='当前测试值} |  | {code='04, data='{"errorCode":"L","errorMsg":"测试结果低于仪器测量范围","testTime":"2022-11-03 13:18:06"}, msg='null}
金准+ | 3IIBKF0002 | 10:CE:A9:E4:9C:81 | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"L"}},"sampleType":"血糖","temperature":"24.3","testTime":"2019-03-03 09:06:00","type":"bloodGlucose"}, msg='当前测试值}
KA-11 | 2DH1DPR0147 | C8:FD:19:07:40:49 | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"6.1"}},"sampleType":"血糖","testTime":"2000-11-28 17:15:00","type":"bloodGlucose"}, msg='当前测试值}
EA-12 | 1VK2PR00296 |  | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"5.8"}},"sampleType":"血糖","testTime":"2022-10-30 09:17:00","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"result":{"UA":{"unit":"μmol/L","value":"425.0"}},"sampleType":"尿酸","testTime":"2022-10-30 09:18:00","type":"uricAcid"}, msg='当前测试值}
EA-18血糖尿酸测试仪 | 3MJ13H00106 | 18:93:D7:28:EE:41 | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"8.2"}},"sampleType":"血糖","testTime":"2022-10-31 17:10:00","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"result":{"UA":{"unit":"μmol/L","value":"426.0"}},"sampleType":"尿酸","testTime":"2022-10-31 17:10:00","type":"uricAcid"}, msg='当前测试值}
金稳+AIR | 3SM7DS00198 | 7C:EC:79:E1:DF:D1 | {code='05, data='{"currentNumber":"2","result":{"GLU":{"unit":"mmol/L","value":"25.1"}},"sampleType":"血糖","testTime":"2022-09-14 22:34:51","totalNumber":"2","type":"bloodGlucose"}, msg='历史数据值} |  |  |  |  | {code='05, data='{"currentNumber":"15","result":{"GLU":{"unit":"mmol/L","value":"2.5"}},"sampleType":"血糖","testTime":"2021-09-23 16:04:49","totalNumber":"0","type":"bloodGlucose"}, msg='历史数据值}
安稳+Air血糖仪 | 2LI14GR0140 | 18:93:D7:01:E5:D2 | {code='05, data='{"currentNumber":"3","result":{"GLU":{"unit":"mmol/L","value":"12.8"}},"sampleType":"血糖","temperature":"26.0","testTime":"2022-05-26 13:34:38","totalNumber":"10","type":"bloodGlucose"}, msg='历史数据值}
安稳+Air血糖仪(BR方案) | 2JMAPG00001 | 04:7F:0E:10:57:37 | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"5.9"}},"sampleType":"血糖","temperature":"28.9","testTime":"2022-11-17 14:46:16","type":"bloodGlucose"}, msg='当前测试值}
真睿二代TRUEMETRIXAIR | 2ZJ4N000027 | B6:4D:02:7F:80:0C | {code='04, data='{"result":{"GLU":{"unit":"mmol/L","value":"15.9"}},"sampleType":"血糖质控液","testTime":"2022-10-30 09:45:15","type":"bloodGlucose"}, msg='当前测试值}
安诺心CW286智能体重秤 |  | EC:E5:13:03:00:59 |  |  | {code='04, data='{"result":{"P":{"value":"0"},"resistance":{"value":"0"},"weight":{"unit":"kg","value":"60.35"},"weightG":{"unit":"g","value":"6035.0"}},"testTime":"2022-10-30 12:02:45","type":"HeightAndWeight"}, msg='当前测试值}
脉搏波BP-888臂式血压计 |  | RBP1708040757： C8:FD:19:82:3B:A7 |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"111"},"BloodMeasureLow":{"unit":"mmHg","value":"84"},"P":{"value":"78"}},"testTime":"2022-10-30 12:25:59","type":"bloodPressure"}, msg='当前测试值}
诺凡BA-806隧道式血压计 |  | C0:00:00:00:0A:3B |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"155"},"BloodMeasureLow":{"unit":"mmHg","value":"75"},"P":{"value":"74"}},"testTime":"2019-01-01 00:01:00","type":"bloodPressure"}, msg='当前测试值}
三诺智惠血糖仪 | 5JM41R00628 | B8:4D:43:2B:E0:6C | {code='04, data='{"currentNumber":"173","hematocrit":"50","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-30 12:38:32","type":"bloodGlucose"}, msg='当前测试值}
三诺臻准2000血糖仪 | 4YM2PR00353 | B8:4D:43:2B:E6:E5 | {code='04, data='{"currentNumber":"6","hematocrit":"35","result":{"GLU":{"indicatorOriginalResult":"29.2","unit":"mmol/L","value":"29.2"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-04-23 12:00:34","type":"bloodGlucose"}, msg='当前测试值}
美的连血氧仪 | MEDXING-SpO2 | 2C:AB:33:0E:BE:A2 |  |  | {code='04, data='{"result":{"P":{"value":"76"},"SPO2":{"value":"97"}},"type":"bloodOxygen"}, msg='当前测试值}
SG901 Air血糖仪 | 5MLAWG00022 | B8:4D:43:2B:C0:8A | {code='04, data='{"currentNumber":"70","hematocrit":"35","result":{"GLU":{"indicatorOriginalResult":"29.2","unit":"mmol/L","value":"29.2"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-07-27 09:59:58","type":"bloodGlucose"}, msg='当前测试值}
SG901 Air血糖仪（新） | 5JMAXG00083 | A0:00:00:00:01:25 | {code='04, data='{"currentNumber":"2","hematocrit":"35","result":{"GLU":{"indicatorOriginalResult":"29.3","unit":"mmol/L","value":"29.3"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-10-31 09:51:36","type":"bloodGlucose"}, msg='当前测试值}
诺凡BA-803 | ClinkBlood | C0:00:00:00:17:CB |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"112"},"BloodMeasureLow":{"unit":"mmHg","value":"72"},"P":{"value":"86"}},"testTime":"2021-01-12 01:54:00","type":"bloodPressure"}, msg='当前测试值}
脉搏波RBP-9805臂式血压计 | BP06D2A2011070405 | A4:C1:38:40:02:BA |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"106"},"BloodMeasureLow":{"unit":"mmHg","value":"77"},"P":{"value":"74"}},"testTime":"2022-10-30 15:13:50","type":"bloodPressure"}, msg='当前测试值}
脉搏波RBP-9804臂式血压计 | BP06821805190066 | 88:1B:99:1D:0F:DB |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"109"},"BloodMeasureLow":{"unit":"mmHg","value":"76"},"P":{"value":"78"}},"testTime":"2022-10-30 15:19:00","type":"bloodPressure"}, msg='当前测试值}
脉搏波RBP-9000台式血压计 |  | 88:1B:99:0B:7C:64 |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"108"},"BloodMeasureLow":{"unit":"mmHg","value":"67"},"P":{"value":"85"}},"testTime":"2022-11-02 15:23:42","type":"bloodPressure"}, msg='当前测试值}
优瑞恩 |  | 18:7A:93:B8:C6:E4 |  |  | {code='04, data='{"result":{"BloodMeasureHigh":{"unit":"mmHg","value":"115"},"BloodMeasureLow":{"unit":"mmHg","value":"80"},"P":{"value":"74"}},"testTime":"2022-11-03 08:44:23","type":"bloodPressure"}, msg='当前测试值}
SG901 Air血糖仪（BR方案） | 5JMB7G00081 | 04:7F:0E:10:57:09 | {code='04, data='{"currentNumber":"2","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"3.6","unit":"mmol/L","value":"3.6"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-04-13 14:10:01","type":"bloodGlucose"}, msg='当前测试值}
| 5JMB7G00076 | 04:7F:0E:10:57:0A | {code='04, data='{"currentNumber":"4","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"3.6","unit":"mmol/L","value":"3.6"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-17 14:12:55","type":"bloodGlucose"}, msg='当前测试值}
| 5JMB7G00084 | 04:7F:0E:10:57:0C | {code='04, data='{"currentNumber":"4","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"3.6","unit":"mmol/L","value":"3.6"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-17 14:18:24","type":"bloodGlucose"}, msg='当前测试值}
| 5JMB7G00073 | 04:7F:0E:10:56:FC | {code='04, data='{"currentNumber":"4","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"3.6","unit":"mmol/L","value":"3.6"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-17 14:29:49","type":"bloodGlucose"}, msg='当前测试值}
| 5JMB7G00077 | 04:7F:0E:10:57:08 | {code='04, data='{"currentNumber":"2","hematocrit":"65","result":{"GLU":{"indicatorOriginalResult":"3.6","unit":"mmol/L","value":"3.6"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-17 14:28:21","type":"bloodGlucose"}, msg='当前测试值}
EA-19(标记为ug-23) | 6XMB1S00377 | 88:12:AC:1B:1F:D2 | {code='04, data='{"calibrationCode":"C60","currentNumber":"5","firstDataFlagAfterPowerFailure":"0","hematocrit":"50","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-23 12:39:53","timeCalibrationFlags":"0","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"calibrationCode":"C60","currentNumber":"5","firstDataFlagAfterPowerFailure":"0","hematocrit":"46","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"623","unit":"μmol/L","value":"623"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-23 12:39:55","timeCalibrationFlags":"0","type":"uricAcid"}, msg='当前测试值} |  |  |  | {code='05, data='{"calibrationCode":"C60","currentNumber":"5","firstDataFlagAfterPowerFailure":"0","hematocrit":"46","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"623","unit":"μmol/L","value":"623"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-23 12:39:55","timeCalibrationFlags":"0","type":"uricAcid"}, msg='历史数据值} | {code='05, data='{"calibrationCode":"C60","currentNumber":"5","firstDataFlagAfterPowerFailure":"0","hematocrit":"50","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-23 12:39:53","timeCalibrationFlags":"0","type":"bloodGlucose"}, msg='历史数据值}
kug-11(三功能机，研发样机) | KK220815018 | 68:4E:05:11:C1:D7 | {code='04, data='{"calibrationCode":"C60","currentNumber":"10","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-29 08:20:25","timeCalibrationFlags":"0","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"calibrationCode":"C60","currentNumber":"9","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"622","unit":"μmol/L","value":"622"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:25:50","timeCalibrationFlags":"0","type":"uricAcid"}, msg='当前测试值} |  |  | {"calibrationCode":"C60","currentNumber":"10","firstDataFlagAfterPowerFailure":"1","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"1315","unit":"μmol/L","value":"H"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:27:32","timeCalibrationFlags":"0","type":"uricAcid"}, msg='测试结果高于仪器测量范围} | {code='04, data='{"calibrationCode":"C60","currentNumber":"11","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"1","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"156","unit":"μmol/L","value":"L"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:28:44","timeCalibrationFlags":"0","type":"uricAcid"}, msg='测试结果低于仪器测量范围}
臻准3000（研发样机） | KZ220811006 | B8:4D:43:2B:8A:F9 | {code='04, data='{"calibrationCode":"C60","currentNumber":"8","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"GLU":{"indicatorOriginalResult":"11.8","unit":"mmol/L","value":"11.8"},"testNutritionalTime":"随机"},"sampleType":"血糖工装标准条","testTime":"2022-11-29 08:26:30","timeCalibrationFlags":"0","type":"bloodGlucose"}, msg='当前测试值} | {code='04, data='{"calibrationCode":"C60","currentNumber":"4","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"621","unit":"μmol/L","value":"621"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:20:33","timeCalibrationFlags":"0","type":"uricAcid"}, msg='当前测试值} |  |  | {code='04, data='{"calibrationCode":"C60","currentNumber":"5","firstDataFlagAfterPowerFailure":"1","hematocrit":"0","historyTimeCalibrationFlags":"0","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"1312","unit":"μmol/L","value":"H"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:30:11","timeCalibrationFlags":"0","type":"uricAcid"}, msg='测试结果高于仪器测量范围} | {code='04, data='{"calibrationCode":"C60","currentNumber":"6","firstDataFlagAfterPowerFailure":"0","hematocrit":"0","historyTimeCalibrationFlags":"1","predictorFlag":"0","result":{"UA":{"indicatorOriginalResult":"156","unit":"μmol/L","value":"L"},"testNutritionalTime":"随机"},"sampleType":"尿酸工装标准条","testTime":"2022-11-29 08:30:41","timeCalibrationFlags":"0","type":"uricAcid"}, msg='测试结果低于仪器测量范围}

## 小程序
设备 | 设备SN号 | mac地址 | 血糖格式示例 | 尿酸 | 血脂/血压/体重等格式示例 | 特殊值
掌越血糖血脂仪 | 3GJ4IR00051 | 10CEA9DF9158 | {"code":"05","msg":"历史记录","data":[{"result":13.9,"type":"GLU","unit":"mmol/L","time":1627203051000,"formatTime":"2021-07-25 16:50:51"}]} |  | {"code":"05","msg":"历史记录","data":[{"result":{"GLU":"","TG":">5.65","TC":"<2.59","HDL":1.88,"LDL":"----","NONHDL":"----","TCHDL":"----","LDHDLL":"----"},"type":"TG","unit":"mmol/L","time":1595829225000,"formatTime":"2020-07-27 13:53:45"}]}
UA Ring尿酸测试仪 | 5NM6ER00219 | 5CC563E03A3D |  | {"code":"04","msg":"直接测量","data":{"result":622,"time":1666840411000,"formatTime":"2022-10-27 11:13:31","data":[83,78,27,32,0,4,0,31,22,10,27,11,13,31,0,0,0,0,1,0,1,2,110,14,2,0,46,0,60,188],"order":31,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":46,"unit":"umol/L","indicatorOriginalResult":622,"isHigh":false,"calibrationCode":"C60","type":"UA"}}
UG-PLUS血糖尿酸仪 | 6WM67G00038 | 5CC563E0458C | {"code":"04","msg":"直接测量","data":{"result":11.8,"time":1666842385000,"formatTime":"2022-10-27 11:46:25","data":[83,78,27,32,0,4,0,96,22,10,27,11,46,25,0,0,0,0,1,0,0,0,118,30,0,0,50,0,60,47],"order":96,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":50,"unit":"mmol/L","indicatorOriginalResult":11.8,"isHigh":false,"calibrationCode":"C60","type":"GLU"}} | {"code":"04","msg":"直接测量","data":{"result":623,"time":1666842431000,"formatTime":"2022-10-27 11:47:11","data":[83,78,27,32,0,4,0,97,22,10,27,11,47,11,0,0,0,0,1,0,1,2,111,14,2,0,46,0,60,13],"order":97,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":46,"unit":"umol/L","indicatorOriginalResult":623,"isHigh":false,"calibrationCode":"C60","type":"UA"}} |  | {"code":"04","msg":"直接测量","data":{"result":"HI","time":1666842340000,"formatTime":"2022-10-27 11:45:40","data":[83,78,27,32,0,4,0,94,22,10,27,11,45,40,0,0,0,0,1,0,1,5,31,14,2,0,28,32,60,230],"order":94,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":28,"unit":"umol/L","indicatorOriginalResult":1311,"isHigh":false,"calibrationCode":"C60","type":"UA"}} | {"code":"04","msg":"直接测量","data":{"result":"LO","time":1666842369000,"formatTime":"2022-10-27 11:46:09","data":[83,78,27,32,0,4,0,95,22,10,27,11,46,9,0,0,0,0,1,0,1,0,157,14,2,0,64,16,60,86],"order":95,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":64,"unit":"umol/L","indicatorOriginalResult":157,"isHigh":false,"calibrationCode":"C60","type":"UA"}}
UG-23血糖尿酸测试仪 | 6ZM6AG00015 | 5CC5636C7BD3 | {"code":"04","msg":"直接测量","data":{"result":11.8,"time":1666851849000,"formatTime":"2022-10-27 14:24:09","data":[83,78,27,32,0,4,0,37,22,10,27,14,24,9,0,0,0,0,1,0,0,0,118,30,0,240,50,0,60,193],"order":37,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":50,"unit":"mmol/L","indicatorOriginalResult":11.8,"isHigh":false,"calibrationCode":"C60","type":"GLU"}} | {"code":"04","msg":"直接测量","data":{"result":623,"time":1666851855000,"formatTime":"2022-10-27 14:24:15","data":[83,78,27,32,0,4,0,18,22,10,27,14,24,15,0,0,0,0,1,0,1,2,111,14,2,240,46,0,60,158],"order":18,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":46,"unit":"umol/L","indicatorOriginalResult":623,"isHigh":false,"calibrationCode":"C60","type":"UA"}} |  | {"code":"04","msg":"直接测量","data":{"result":"HI","time":1666851875000,"formatTime":"2022-10-27 14:24:35","data":[83,78,27,32,0,4,0,19,22,10,27,14,24,35,0,0,0,0,1,0,1,5,37,14,2,240,28,32,60,122],"order":19,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":28,"unit":"umol/L","indicatorOriginalResult":1317,"isHigh":false,"calibrationCode":"C60","type":"UA"}} | {"code":"04","msg":"直接测量","data":{"result":"LO","time":1666851893000,"formatTime":"2022-10-27 14:24:53","data":[83,78,27,32,0,4,0,20,22,10,27,14,24,53,0,0,0,0,1,0,1,0,157,14,2,240,64,16,60,20],"order":20,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":64,"unit":"umol/L","indicatorOriginalResult":157,"isHigh":false,"calibrationCode":"C60","type":"UA"}}
三诺优智血糖仪 | 4YL57G00051 | B84D432B9108 | {"code":"04","msg":"直接测量","data":{"result":65,"time":1666854509000,"formatTime":"2022-10-27 15:08:29","data":[83,78,27,32,0,4,0,101,22,10,27,15,8,29,0,0,0,0,1,0,0,0,65,14,1,0,65,255,255,163],"order":101,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":65,"unit":"mg/dL","indicatorOriginalResult":65,"isHigh":false,"calibrationCode":"C255","type":"GLU"}}
BA-801 |  | C6050407C12D |  |  | {"code":"04","msg":"测量时间","data":{"type":"BP","result":{"bloodMeasureHigh":124,"bloodMeasureLow":64,"checkHeartRate":78},"time":1666857563911,"formatTime":"2022-10-27 15:59:00"}}
诺凡BA-803 | ClinkBlood | C0:00:00:00:17:CB |  |  | {"code":"04","msg":"测量时间","data":{"type":"BP","result":{"bloodMeasureHigh":105,"bloodMeasureLow":75,"checkHeartRate":75},"time":1667203829780,"formatTime":"2022-10-31 16:10:00"}}
脉搏波RBP-9805臂式血压计 | BP06D2A2011070405 | A4:C1:38:40:02:BA |  |  | {"llow":137,"hhigh":72,"heart":77}
脉搏波RBP-9804臂式血压计 | BP06821805190066 | 88:1B:99:1D:0F:DB |  |  | {"llow":117,"hhigh":72,"heart":78}
安诺心CW286智能体重秤 |  | EC:E5:13:03:00:59 |  |  | {"code":"04","msg":"直接测量","data":{"unit":"KG","result":"1.10","result2g":1100,"heartRate":-1,"impedance":0,"impedanceEncryption":0,"type":"Weight","name":"CE","state":"锁定数据"}}
UG-11 AIR | 3QL18R00277 | E0:62:34:C9:F1:B6 | {"code":"04","msg":"直接测量","data":{"data":[83,78,21,0,32,4,22,11,1,10,6,30,1,0,0,0,122,16,0,255],"result":12.2,"unit":"mmol/L","formatTime":"2022-11-01 10:06:30","time":1667268390000,"type":"GLU"}} | {"code":"04","msg":"直接测量","data":{"result":581,"data":[83,78,21,0,32,4,22,11,1,10,10,12,1,0,1,2,69,2,2,255],"unit":"μmol/L","formatTime":"2022-11-01 10:10:12","time":1667268612000,"type":"UA"}} |  | {"code":"04","msg":"直接测量","data":{"data":[83,78,21,0,32,4,22,11,1,10,6,30,1,0,0,0,122,16,0,255],"result":12.2,"unit":"mmol/L","formatTime":"2022-11-01 10:06:30","time":1667268390000,"type":"GLU"}} | {"code":"04","msg":"直接测量","data":{"result":581,"data":[83,78,21,0,32,4,22,11,1,10,10,12,1,0,1,2,69,2,2,255],"unit":"μmol/L","formatTime":"2022-11-01 10:10:12","time":1667268612000,"type":"UA"}}
三诺智惠血糖仪 | 5JM41R00628 | B8:4D:43:2B:E0:6C | {"result":29.1,"time":1667271916000,"formatTime":"2022-11-01 11:05:16","data":[83,78,27,32,0,4,0,182,22,11,1,11,5,16,0,0,0,0,1,0,0,1,35,30,0,0,34,0,60,216],"order":182,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":34,"unit":"mmol/L","indicatorOriginalResult":29.1,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
三诺臻准2000血糖仪 | 4YM2PR00353 | B8:4D:43:2B:E6:E5 | {"result":29.1,"time":1667272035000,"formatTime":"2022-11-01 11:07:15","data":[83,78,27,32,0,4,0,8,22,11,1,11,7,15,0,0,0,0,1,0,0,1,35,30,0,0,34,0,60,43],"order":8,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":34,"unit":"mmol/L","indicatorOriginalResult":29.1,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
SG901 Air血糖仪 | 5MLAWG00022 | B8:4D:43:2B:C0:8A | {"result":11.8,"time":1667271010000,"formatTime":"2022-11-01 10:50:10","data":[83,78,27,32,0,4,0,2,22,11,1,10,50,10,0,0,0,0,1,0,0,0,118,30,0,0,50,0,60,172],"order":2,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":50,"unit":"mmol/L","indicatorOriginalResult":11.8,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
SG901 Air血糖仪（新） | 5JMAXG00083 | A0:00:00:00:01:25 | {"result":29.3,"time":1667281853000,"formatTime":"2022-11-01 13:50:53","data":[83,78,27,32,0,4,0,5,22,11,1,13,50,53,0,0,0,0,1,0,0,1,37,30,0,0,35,0,60,126],"order":5,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":35,"unit":"mmol/L","indicatorOriginalResult":29.3,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
EA-12 | 1VK2PR00296 |  | {"code":"04","data":{"type":"GLU","unit":"mmol/L","result":11,"formatTime":"2022-10-31 08:31:00","time":1667176260000,"data":[83,78,38,0,10,8,0,1,0,42,22,10,31,8,31,0,110,0,238,0]},"msg":"直接测量"} | {"code":"04","data":{"type":"UA","unit":"","result":"","formatTime":"2022-10-31 08:32:00","time":1667176320000,"data":[83,78,38,0,10,8,0,5,2,92,22,10,31,8,32,1,104,0,241,0]},"msg":"直接测量"}
UA Pro尿酸测试仪 | 6TM67G00005 | 5C:C5:63:E0:36:B9 |  | {"code":"04","msg":"直接测量","data":{"result":624,"time":1667270813000,"formatTime":"2022-11-01 10:46:53","data":[83,78,27,32,0,4,0,28,22,11,1,10,46,53,0,0,0,0,1,0,1,2,112,14,2,0,46,0,60,216],"order":28,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":46,"unit":"umol/L","indicatorOriginalResult":624,"isHigh":false,"calibrationCode":"C60","type":"UA"}}
真睿二代TRUEMETRIXAIR | 2ZJ4N000027 | B6:4D:02:7F:80:0C | {"time":1667271749000,"result":14.1,"type":"GLU","unit":"mmol/L","formatTime":"2022-11-01 11:02:29"}}
诺凡BA-806隧道式血压计 |  | C0:00:00:00:0A:3B |  |  | {"code":"04","msg":"测量时间","data":{"type":"BP","result":{"bloodMeasureHigh":123,"bloodMeasureLow":74,"checkHeartRate":67},"time":1667272327148,"formatTime":"2019-01-01 00:02:00"}}
UA-AIR |  | B6:4D:43:2B:B0:96 |  | {"code":"04","msg":"直接测量","data":{"result":627,"time":1667272638000,"formatTime":"2022-11-01 11:17:18","data":[83,78,27,32,0,4,0,114,22,11,1,11,17,18,0,0,0,0,1,0,1,2,115,14,2,0,46,0,60,242],"order":114,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":46,"unit":"umol/L","indicatorOriginalResult":627,"isHigh":false,"calibrationCode":"C60","type":"UA"}}
安稳+Air血糖仪 | 2LI14GR0140 | 18:93:D7:01:E5:D2 | {"code":"04","msg":"直接测量","str":"534e12001204160b010d3b14007d0000de090000","data":{"result":12.5,"data":[83,78,18,0,18,4,22,11,1,13,59,20,0,125,0,0,222,9,0,0],"unit":"mmol/L","type":"GLU","formatTime":"2022-11-01 13:59:20","time":1667282360000}} |  |  |  |  | {"code":"05","msg":"aw history","data":[{"result":12.2,"data":[83,78,16,0,18,14,0,10,22,5,19,13,48,50,0,122,1,0,82],"unit":"mmol/L","type":"GLU","order":"000a","formatTime":"2022-05-19 13:48:50","time":1652939330000}]}
安稳+Air血糖仪(BR方案) | 2JMAPG00001 | 04:7F:0E:10:57:37 | {"code":"04","msg":"直接测量","str":"534e12001204160b1210391f003b0001240900002c","data":{"result":5.9,"data":[83,78,18,0,18,4,22,11,18,16,57,31,0,59,0,1,36,9,0,0,44],"unit":"mmol/L","type":"GLU","formatTime":"2022-11-18 16:57:31","time":1668761851000}}
SG901 Air血糖仪（BR方案） | 5JMB7G00084 | 04:7F:0E:10:57:0C | {"code":"04","msg":"直接测量","data":{"result":3.6,"time":1668760192000,"formatTime":"2022-11-18 16:29:52","data":[83,78,27,32,0,4,0,7,22,11,18,16,29,52,0,0,0,0,1,0,0,0,36,30,0,0,65,0,60,154],"order":7,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":65,"unit":"mmol/L","indicatorOriginalResult":3.6,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
| 5JMB7G00073 | 04:7F:0E:10:56:FC | {"code":"04","msg":"直接测量","data":{"result":3.6,"time":1668761187000,"formatTime":"2022-11-18 16:46:27","data":[83,78,27,32,0,4,0,11,22,11,18,16,46,27,0,0,0,0,1,0,0,0,36,30,0,0,65,0,60,150],"order":11,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":65,"unit":"mmol/L","indicatorOriginalResult":3.6,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
| 5JMB7G00077 | 04:7F:0E:10:57:08 | {"code":"04","msg":"直接测量","data":{"result":3.6,"time":1668666787000,"formatTime":"2022-11-17 14:33:07","data":[83,78,27,32,0,4,0,3,22,11,17,14,33,7,0,0,0,0,1,0,0,0,36,30,0,0,65,0,60,106],"order":3,"simpleType":"工装标准条","testNutritionalTime":"随机","hematocrit":65,"unit":"mmol/L","indicatorOriginalResult":3.6,"isHigh":false,"calibrationCode":"C60","type":"GLU"}}
kug-11(三功能机，研发样机) | KK220815018 | 68:4E:05:11:C1:D7 | {code: "04", msg: "直接测量", data: {result: 11.8, time: 1669789735000, formatTime: "2022-11-30 14:28:55", data: [83, 78, 27, 32, 1, 4, 0, 13, 22, 10, 24, 9, 7, 42, 0, 49, 18, 201, 1, 0, 0, 0, 118, 30, 0, 0, 0, 2, 60, 158, 13, 10], order: 13, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "mmol/L", indicatorOriginalResult: 11.8, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "GLU"}, authData: {testTime: "2022-11-30 14:28:55", result: {GLU: {result: 11.8, unit: "mmol/L", indicatorOriginalResult: 11.8}}, originalResult: "534e1b200104000d160a1809072a003112c901000000761e000000023c9e0d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} | {code: "04", msg: "直接测量", data: {result: 623, time: 1669788894000, formatTime: "2022-11-30 14:14:54", data: [83, 78, 27, 32, 1, 4, 0, 19, 22, 10, 24, 8, 53, 41, 0, 49, 18, 201, 1, 0, 1, 2, 111, 14, 2, 0, 0, 2, 60, 190, 13, 10], order: 19, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 623, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:14:54", result: {UA: {result: 623, unit: "umol/L", indicatorOriginalResult: 623}}, originalResult: "534e1b2001040013160a18083529003112c9010001026f0e020000023cbe0d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} |  | {code: "04", msg: "直接测量", data: {result: "L", time: 1669788352000, formatTime: "2022-11-30 14:05:52", data: [83, 78, 27, 32, 1, 4, 0, 14, 22, 10, 24, 8, 44, 39, 0, 49, 18, 201, 1, 0, 1, 0, 156, 14, 2, 0, 0, 18, 60, 233, 13, 10], order: 14, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 156, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:05:52", result: {UA: {result: "L", unit: "umol/L", indicatorOriginalResult: 156}}, originalResult: "534e1b200104000e160a18082c27003112c9010001009c0e020000123ce90d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} | {code: "04", msg: "直接测量", data: {result: "H", time: 1669788804000, formatTime: "2022-11-30 14:13:24", data: [83, 78, 27, 32, 1, 4, 0, 17, 22, 10, 24, 8, 52, 11, 0, 49, 18, 201, 1, 0, 1, 5, 32, 14, 2, 0, 0, 34, 60, 113, 13, 10], order: 17, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 1312, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:13:24", result: {UA: {result: "H", unit: "umol/L", indicatorOriginalResult: 1312}}, originalResult: "534e1b2001040011160a1808340b003112c901000105200e020000223c710d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}}
臻准3000（研发样机） | KZ220811006 | B8:4D:43:2B:8A:F9 | "result" {code: "04", msg: "直接测量", data: {result: 11.8, time: 1669791314000, formatTime: "2022-11-30 14:55:14", data: [83, 78, 27, 32, 1, 4, 0, 10, 22, 10, 27, 15, 40, 43, 0, 44, 200, 87, 1, 0, 0, 0, 118, 30, 0, 0, 0, 2, 60, 5, 13, 10], order: 10, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "mmol/L", indicatorOriginalResult: 11.8, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "GLU"}, authData: {testTime: "2022-11-30 14:55:14", result: {GLU: {result: 11.8, unit: "mmol/L", indicatorOriginalResult: 11.8}}, originalResult: "534e1b200104000a160a1b0f282b002cc85701000000761e000000023c050d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} | "result" {code: "04", msg: "直接测量", data: {result: 622, time: 1669791349000, formatTime: "2022-11-30 14:55:49", data: [83, 78, 27, 32, 1, 4, 0, 10, 22, 10, 27, 15, 41, 18, 0, 44, 200, 87, 1, 0, 1, 2, 110, 14, 2, 0, 0, 2, 60, 218, 13, 10], order: 10, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 622, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:55:49", result: {UA: {result: 622, unit: "umol/L", indicatorOriginalResult: 622}}, originalResult: "534e1b200104000a160a1b0f2912002cc857010001026e0e020000023cda0d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} |  | "result" {code: "04", msg: "直接测量", data: {result: "L", time: 1669791386000, formatTime: "2022-11-30 14:56:26", data: [83, 78, 27, 32, 1, 4, 0, 11, 22, 10, 27, 15, 41, 55, 0, 44, 200, 87, 1, 0, 1, 0, 156, 14, 2, 0, 0, 18, 60, 60, 13, 10], order: 11, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 156, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:56:26", result: {UA: {result: "L", unit: "umol/L", indicatorOriginalResult: 156}}, originalResult: "534e1b200104000b160a1b0f2937002cc857010001009c0e020000123c3c0d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}} | "result" {code: "04", msg: "直接测量", data: {result: "H", time: 1669791429000, formatTime: "2022-11-30 14:57:09", data: [83, 78, 27, 32, 1, 4, 0, 12, 22, 10, 27, 15, 42, 38, 0, 44, 200, 87, 1, 0, 1, 5, 33, 14, 2, 0, 0, 34, 60, 199, 13, 10], order: 12, simpleType: "工装标准条", testNutritionalTime: "随机", hematocrit: 0, unit: "umol/L", indicatorOriginalResult: 1313, isHigh: false, calibrationCode: "C60", predictorFlag: "0", timeCalibrationFlags: "1", firstDataFlagAfterPowerFailure: "0", historyTimeCalibrationFlags: "0", type: "UA"}, authData: {testTime: "2022-11-30 14:57:09", result: {UA: {result: "H", unit: "umol/L", indicatorOriginalResult: 1313}}, originalResult: "534e1b200104000c160a1b0f2a26002cc85701000105210e020000223cc70d0a"}, adat: {calibrationCode: "C60", hematocrit: 0}}

## SDK多设备连接时长
设备数 | 设备 | 仪器连接时间（s） | [9 empty] | 10次连接的平均值（s）
1 | UG-23 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 0
2 | UG-23 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
| BA-803 | 3 | 2 | 3 | 3 | 3 | 3 | 2 | 3 | 3 | 3 | 0
3 | UG-23 | 2 | 3 | 1 | 2 | 1 | 1 | 1 | 5 | 1 | 1 | 0
| BA-803 | 3 | 2 | 2 | 2 | 3 | 2 | 2 | 3 | 2 | 2 | 0
| SG901 | 5 | 3 | 5 | 4 | 4 | 3 | 3 | 3 | 3 | 3 | 0
4 | UG-23 | 3 | 1 | 1 | 1 | 1 | 2 | 2 | 1 | 1 | 1 | 0
| BA-803 | 2 | 2 | 3 | 2 | 3 | 3 | 1 | 2 | 1 | 3 | 0
| SG901 | 3 | 3 | 3 | 3 | 4 | 5 | 1 | 3 | 3 | 4 | 0
| UG-11 | 4 | 4 | 5 | 5 | 5 | 4 | 3 | 4 | 5 | 5 | 0
5 | UG-23 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0
| BA-803 | 2 | 4 | 3 | 2 | 3 | 3 | 2 | 2 | 3 | 3 | 0
| SG901 | 3 | 5 | 4 | 3 | 5 | 4 | 4 | 4 | 3 | 4 | 0
| UG-11 | 4 | 5 | 6 | 4 | 7 | 5 | 5 | 4 | 4 | 5 | 0
| 三诺优智 | 5 | 7 | 3 | 5 | 8 | 6 | 6 | 5 | 6 | 5 | 0